# Laboratory Close-Out Checklist

| ## Hazardous Material/Procedure |  | ## Date Completed or N/A |
| --- | --- | --- |
| ### Shared Storage Areas |  |  |
| Hazardous materials removed from all shared storage areas |  |  |
| Clean/decontaminate laboratory surfaces, insides of cabinet, and drawers |  |  |
| Remove materials from and clean/decontaminate refrigerators/freezers |  |  |
| Clean/decontaminate incubators, ovens, centrifuges, and all other equipment |  |  |
| ### Chemicals |  |  |
| Evaluate all chemicals and label all containers. |  |  |
| Offer useable materials for redistribution |  |  |
| Submit chemical waste for removal by DEHS's Regulated Waste division. |  |  |
| Confirm that hazardous waste has been removed. |  |  |
| Transfer responsibility for remaining chemicals to: |  |  |
| ### Controlled Substances |  |  |
| Submit a completed Controlled Substance Disposal Form to the DEHS's regulated waste division. |  |  |
| Contact U.S. Drug Enforcement Agency regarding permit status. |  |  |
| ### Gas Cylinders |  |  |
| Return to supplier. For non‐returnable cylinders contact hazwaste@umn.edu for guidance. |  |  |
| ### Animal and Human Tissue |  |  |
| Disposal of animal tissue. Method: _________ |  |  |
| Dispose of preservative. Method: ___________ |  |  |
| Human tissue has been sent to the Bequest Program. |  |  |
| Transfer responsibility for remaining samples to: _____________ |  |  |
| ### Microorganisms/Cultures Recombinant DNA |  |  |
| IBC protocol has been amended. |  |  |
| Dispose of biohazardous waste appropriately. |  |  |
| Decontaminate equipment used for biohazardous work |  |  |
| Professionally decontaminate Biosafety cabinets |  |  |
| ### Toxins of Biological Origin |  |  |
| Method of disposal: ___________________ |  |  |
| Transfer responsibility for remaining samples to: ____________ |  |  |
| ### Radioactive Materials |  |  |
| Package all radioactive materials for disposal and arrange pickup. |  |  |
| Transfer responsibility of remaining stock vials to [check with HSRM Radiation Protection Division (RPD) first]: ___________ |  |  |
| Perform contamination survey, and resurvey, if necessary. |  |  |
| Schedule closeout survey by RPD. |  |  |
| ### Mixes Hazards |  |  |
| Identify and dispose of mixed hazards appropriately. Call HSRM with questions. |  |  |
| ## Department Sign-Off |  |  |
| By signing, I verify that I have checked all spaces in the facility space mentioned above. It has been found clear of all equipment, supplies and hazards and everything has been cleaned according to the outlined guidelines |  |  |
| Researcher Signature |  |  |
| DSO |  |  |
| Department Administrator or Department Head |  |  |

Revised: